CelGrowth cell culture Erlenmeyer flask

CelGrowth flat-bottomed cell culture Erlenmeyer flasks are sterile and disposable, and are ideal for all shaker culture applications and liquid handling and storage. All CelGrowth cell culture Erlenmeyer flasks are equipped with filter vent caps and are sterilized by irradiation. At the same time, PETG and PC materials are provided to provide users with more options.

Key Features：

| More specifications▸Conical flasks from 125 mL to 5 L can provide standard filter vent caps▸ Ideal for shaker culture applicationsMore robust▸PETG or PC material, both can provide first-class optical transmittance and mechanical strength▸PC material is different from PETG, the conical flask will not collapse during high temperature sterilization of culture medium or cleaning up waste▸ Unlike glass, the Erlenmeyer flask will not be damaged when dropped▸ Easy-to-grip lid has a more ergonomic designMore reliable▸Engraved scale for accuracy▸The Vent cap with 0.2μm breathable membrane can realize continuous gas exchange while ensuring sterility and preventing liquid leakage▸Each conical flask is individually packaged and sterilized by radiation |  |  |
| --- | --- | --- |
| ▸All conical flasks have the highest level of asepticity assurance ( SAL) of 10 -6 |  |  |
| ▸No pyrogen, no RNase and DNase pollution |  |  |

Product specifications:

| Material | Item No. | capacity | Cap type | Size(mm) |  |  | Package |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | high | Neck diameter | Bottom diameter |  |
| PETG | NS206-125-B | 125ml | Vent cap | 113 | 34 | 66 | 1 pcs/bag, 50 bags/carton |
|  | NS206-250-B | 250ml | Vent cap | 138 | 34 | 83 | 1 pcs/bag, 50 bags/carton |
|  | NS206-500-B | 500ml | Vent cap | 177 | 39 | 101 | 1 pcs/bag, 25 bags/carton |
|  | NS206-1000-B | 1000ml | Vent cap | 205 | 39 | 127 | 1 pcs/bag, 25 bags/carton |
|  | NS206-3000-B | 3000ml | Vent cap | 243 | 96 | 164 | 1 pcs/bag, 6 bags/carton |
|  | NS206-5000-B | 5000ml | Vent cap | 253 | 96 | 228 | 1 pcs/bag, 4 bags/carton |
| PC | NS206-125-S | 125ml | Vent cap | 113 | 34 | 66 | 1 pcs/bag, 50 bags/carton |
|  | NS206-250-S | 250ml | Vent cap | 138 | 34 | 83 | 1 pcs/bag, 50 bags/carton |
|  | NS206-500-S | 500ml | Vent cap | 177 | 39 | 101 | 1 pcs/bag, 25 bags/carton |
|  | NS206-1500-S | 1500ml | Vent cap | 205 | 39 | 127 | 1 pcs/bag, 10 bags/carton |
|  | NS206-3000-S | 3000ml | Vent cap | 243 | 96 | 164 | 1 pcs/bag, 6 bags/carton |
|  | NS206-5000-S | 5000ml | Vent cap | 253 | 96 | 228 | 1 pcs/bag, 4 bags/carton |