### T180 Thermostatic Incubator

### T180

### Models:

| Model | Product name | Number of unit | Dimension(L×W×H) |
| --- | --- | --- | --- |
| T180 | Thermostatic Incubator | 1 Unit | 656×646×850mm ( Base included) |

Use:

T180 thermostatic incubator utilize free convection or circulating air to perfectly meet growth, culture or incubation requirements. In addition, the new generation of incubator has won praise for its high efficiency and perfect temperature accuracy with the latest temperature control technology.

Key Features:

❏ Simple LCD key controller, simple and intuitive to operate

▸ The push-button control panel is intuitive and easy to operate, so you can easily control the switching of a parameter and change its value without special training

▸ Perfect appearance of the display area showing the temperature. With the enlarged digital display and clear symbols on the monitor, you can observe from a far distance

❏ The ultimate in temperature control precision

▸ Highly accurate control ensures stable temperature distribution even with given challenging parameters.

❏ Easy disassembly without tools

▸ Stainless steel shelves and brackets are durable and can be removed without tools in 1 minite, This detachable structure is designed for easy cleaning of the inner compartment

❏ Multiple safety designs for users and samples safety

▸ Optimized PID parameter settings that do not cause temperature overshoot during temperature rise and fall

▸ After an accidental power failure, the constant temperature and humidity chamber will remember the user's set parameters, and automatically start according to the original set parameters after the call, and automatically prompt the user for the accident that has occurred

▸ When a parameter deviates far from the set value, automatically turn on the sound and light alarm system

# Configuration List:

| Incubator | 1 |
| --- | --- |
| Shelf | 3 |
| Power Cord | 1 |
| Fuse | 2 |
| Product Manual, Test Report, etc. | 1 |

# Technical Details:

| Cat.NO. | T180 |
| --- | --- |
| Control interface | Push-button LCD display |
| Temperature control mode | PID control mode |
| Temperature control range | Ambient +5°C~60°C |
| Temperature display resolution | 0.1°C |
| Temperature fluctuation | ±0.1°C |
| Temperature field uniformity | ±0.5°C at 37°C |
| Max.Power | 900W |
| Timing function | 0-999.9hours |
| Internal dimension | L535×W525×H675mm |
| Dimension | L656×W646×H850mm |
| Volume | 180L |
| Working environment temperature | 10°C~ 30°C |
| Power supply | 115V~230V±10%, 50~60Hz |
| Weight | 63kg |

# Shipping information:

| Cat.No. | Product Name | Shipping dimensions W×H×D (mm) | Shipping weight (kg) |
| --- | --- | --- | --- |
| T180 | Thermostatic Incubator | 750×750×950 | 78 |